## HumanScapes
Dear Gilles,
Guilio had asked for the info on the occupancy of humanscapes presently and the list was sent to him on 19/10. Providing the list again.
Please note that we have designed the flats and used fixtures to reduce the water consumption / person to 60 -75 lits with the aim to bring it further down to 45-50 lit / person.
But the sewage output has been calculated as per standard of 80-100 lit / person, as we cannot take the risk of abuse by some resident who might decide to change taps / fixtures. - suhasini
In Humanscapes 1A- number of occupants are as follows, for your reference as requested
Building 01- 12
Building 02- 12
Building 03- 6
Building 04- 4
Total - 34 people
This data is as per the list we had got during apartment allotment.

## Maitreya1 Serenity
Dear Gilles,
Here are the figures,
Maitreye 1-37 people approx.
Serenity- 30 people approx.
I don't know about Maitreye 2.
Regards
Sonali

## Swayam
Dear Gilles,
This is to tell you that we are 21 residents in Swayam Community for the time being.
About Rohini it varies between 0 and 4-6??? Please contact Uma for more information.
Regarding Dustudio/Dharmesh it would be more appropriate for you to ask as they are not residents.
They are using the facilities only day time.
Please let me know if you need more information.
Love and gratitude,
Isha

## Progress
6 offices and 2 houses probably. Yes, it will be an extension of the present building.
Thanks a lot for your interest,
Joseba
On 05/11/18 10:38 AM, gilles . wrote:
Great!
How many flats about?
Any offices?
Will it be an extension of the present building Westward ?
Warmly
Gilles
On Mon, Nov 5, 2018 at 9:28 AM Joseba <joseba@auroville.org.in> wrote:
Hi Gilles,
Yes, of course we are interested, last time it was not possible for some reasons but our name was there.
You can calculate around 15 persons now but we are preparing the plans for the expansion of another phase. Difficult to know how many people could be there right now but that is the plan.
All the best,
Joseba

## Kalpana
Dear Gilles,
Sorry for the delay.
Here is the realistic break up of the population at Kalpana, based on actual booking and occupation.
55 residents for 36 apartments
60 people working in 8 offices
8 guests in the guest house
Total : 123 persons
Best regards
Satyakam

## Population-WW
Ref | Community | Status | PE | Estimated WW Flow KLD | PE | Estimated WW Flow KLD | PE | Estimated WW Flow KLD | PE | Estimated WW Flow KLD | Trunk |  | Branch
|  |  | To be connected to STP on 14-06-17 |  | To be connected on 04-07-18 |  | As per Actual Oct-18 |  | Planned next phase | [5 empty] | PE | Estimated WW Flow KLD | PE | Estimated WW Flow KLD
| Sewer system |  |  |  |  | @135lcd |  | As per information received |  | As per information received Oct-Nov18 |  | Pipe OD |  | Pipe OD | 2018-07-04 |  | 2018-10-01
| TOTAL |  | 453 | 61.155 | 413 | 55.755 | 347.8 | 44.253 | 576.76 | 73.8126 |  |  |  |  | 91.17% | 91.17% | 76.78% | 72.36%
MH9
[11 empty] | MH8 | Ø315
1 | Maitreye 2 | Existing | 81 | 10.935 | 81 | 10.935 | 55.8 | 7.533 | 55.8 | 7.533 |  |  | MH12 | Ø225 | 17.88% | 17.88% | 12.32% | 12.32%
2 | Serenity | 2018 | 27 | 3.645 | 27 | 3.645 | 31.2 | 4.212 | 31.2 | 4.212 |  |  | MH13 | Ø225 | 5.96% | 5.96% | 6.887% | 6.887%
3 | Maitreye 1 | Existing | 30 | 4.05 | 30 | 4.05 | 37 | 4.995 | 37 | 4.995 |  |  |  |  | 6.623% | 6.623% | 8.168% | 8.168%
[11 empty] | MH7 | Ø315
[11 empty] | MH6 | Ø315
4 | Arati 3 ? | Existing | [6 empty] | ? |  |  |  | ?
5 | Prayatna 2 (New) | Existing | 27 | 3.645 | 27 | 3.645 | 31.6667 | 4.275 | 31.6667 | 4.275 |  |  | MH10 | Ø225 | 5.96% | 5.96% | 6.99% | 6.99%
6 | Swayam | Existing | 60 | 8.1 | 60 | 8.1 | 27.3333 | 3.69 | 27.3333 | 3.69 |  |  | MH11 | Ø225 | 13.25% | 13.25% | 6.034% | 6.034%
| Progress | Existing | [6 empty] | 15 | 2.025 |  |  | ?
| Progress 2 | 2019 | [6 empty] | 9 | 1.215
[11 empty] | MH5 | Ø315
| Prayatna Old | Existing | [6 empty] | 24.96 | 3.3696
[11 empty] | MH4 | Ø315
7 | Project B HS? | 2019 | [6 empty] | 30 | 4.05
8 | Realisation | Existing | 33 | 4.455 | 33 | 4.455 | 34.6 | 4.671 | 34.6 | 4.671 | MH3 | Ø315 |  |  | 7.285% | 7.285% | 7.638% | 7.638%
| Vibrance - Invocation5 | 2019 | [6 empty] | 30 | 4.05
[11 empty] | MH2 | Ø315
9 | Humanscape 1a | 2018 | 30 | 4.05 | 50 | 6.75 | 45 | 3.375 | 45 | 10.125 |  |  | MH14 | Ø225 | 11.04% | 11.04% | 9.934% | 5.519%
| 1b (phase 2) | 2019 | [6 empty] | 36
| 1c (phase2) | 2020 | [6 empty] | 54
10 | Kalpana | Existing | 105 | 14.175 | 105 | 14.175 | 85.2 | 11.502 | 85.2 | 11.502 | MH1a | Ø315 |  |  | 23.18% | 23.18% | 18.81% | 18.81%
[13 empty] | MH1c | Ø225
[11 empty] | MH1 | Ø315
11 | Kalpana Sport Ground | 2019 | [6 empty] | 10 | 4.05 | CR1
CR2
CR3
12 | Santé | Existing | 10 | 1.35 |  |  |  |  | 10 | 2.7 |  |  | CR4 |  | 0% | 0% | 0% | 0%
| Morning Star Birthing Centre | 2019 | [6 empty] | 10 | 1.35
| Arka | Existing | 30 | 4.05 | [10 empty] | 0% | 0% | 0% | 0%
| Mahalaxmi home |  | 20 | 2.7 | [10 empty] | 0% | 0% | 0% | 0%
?
| Total |  | 453 | 61.155 | 413 | 55.755
Note on U12: Gilles As pe Road Service (Jacques Blue) input on 120318
Note on B14: Gilles As pe Road Service (Jacques Blue) input on 120318
Note on H15: Windows User: From Isha Population + DUStudio To add Rohini
Note on J15: Windows User: To add DUStudio and Rohini
Note on B18: Windows User: Joseba 051118
Note on H27: Windows User: From HS on 050918

## Population Nov18
Population in the communities | [8 empty] | 2018-11-13
Gilles | 2018-11-13
S.No | Community | residents | guests | office staff | daily employee | other | floating population | Source of information | EC
1 | Humanscapes | 36 |  | 12 |  |  | 25 | housing service, youthlink | 45
2 | Kalpana | 55 | 8 | 60 | 11 |  |  | Martin AV consulting, l'avenir | 85.2 |  | 36 appartments, 7 offices and 1 guest house
3 | Realisation | 34 |  |  | 3 |  |  | Anandi - Realization | 34.6
4 | Maitreye I | 37 | [5 empty] | Sonali | 37
5 | Maitreye II | 55 |  |  | 4 |  |  | housing service, Venkatesh (housing service) | 55.8
6 | Swayam | 21 |  | 19 |  |  |  | dust studio, Isha (resident) | 27.3333
7 | Prayatna New | 27 |  | 8 | 5 |  | 5 | Jacques, Integral health office | 31.6667
8 | Prayatna Old | 24 |  |  | 4.8 |  |  |  | 24.96 | Not yet connected
9 | Serenity | 30 |  |  | 6 |  |  | Housing service | 31.2
372.76
Population in the communities
Meera 13-11-18
S.No | Community | residents (1PE) | guests ( 1PE) | office staff (1/3) | daily employee (1/5) | other | floating population (1/5) | Source of information
1 | Humanscape | 36 |  | 12 (youth link) |  |  | 20-30 during workshops at youthlink | housing service, youthlink
2 | Kalpana | 55 | 8 | 60 office staff, 26 (AV consulting) |  |  |  | Martin AV consulting, l'avenir, Satyakam
3 | Realization | 25 adults, 9 kids |  |  | 9 amma (1 or 2 days/week) |  |  | Anandi - Realization
4 | Maitreye I | 37 | [5 empty] | Sonali
5 | Maitreye II | 70 (but generally 50 -55) |  |  | 1 amma for the whole building, few individual amma but not sure of the number |  |  | housing service, Venkatesh (housing service)
6 | Swayam | 21 |  | 15 (dust studio), 0-4 (Rohini) |  |  |  | dust studio, Isha (resident)
7 | Prayatna new | 27 |  | 2-3 (Aurodesign), 5 (Integral health) | 5 |  | 3-5 patients only in the morning | Jacques, Integral health office
8 | Serenity | 30 | [5 empty] | Housing service
9 | Prayatna old | 24 | [5 empty] | Gajendiran
|  | 334 |  | 94 | 10 |  | 35
| PE | 334 | 8 | 31.33 | 2 |  | 7
total PE | 382.33 | 383
Not including the old Prayatna 359 PE